## command
command | address | quantity
read-holding-registers | 0 | 10

## channel
|  |  | raw |  | conversion
rounding
channelId | channelName | category | reference | quantity | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode
Temperature | 溫度 | data | 400001 | 2 | CDAB |  |  |  | float32 |  |  | -2 | round
Humidity | 濕度 | data | 400003 | 2 | CDAB |  |  |  | float32 |  |  | -2 | round
CO2_Concentration | CO2濃度 | data | 400005 | 2 | CDAB |  |  |  | float32
CO_Concentration | CO濃度 | data | 400007 | 2 | CDAB |  |  |  | float32

## control-sets
| commands |  |  | channels
[6 empty] | raw |  | reverse conversion
rounding
control set | command | address | quantity | channelId | channelName | reference | quantity | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode

## meta
Type | modbus-templates
Version | 0.7