## command
command | registerType | address | quantity
read-word | D | 200 | 24
read-bit | M | 700 | 6
read-bit | X | 16 | 6
read-bit | Y | 256 | 5
read-bit | L | 1800 | 13

## channel
|  |  | raw |  |  | conversion
rounding
channelId | channelName | category | registerType | address | quantity | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode
Speed |  | data | D | 200 | 1 |  |  |  |  | uint16
Count |  | data | D | 202 | 1 |  |  |  |  | uint16
Humidity |  | data | D | 206 | 1 |  |  |  |  | uint16
Temperature |  | data | D | 207 | 1 |  |  |  |  | uint16
Water_Depth |  | data | D | 208 | 1 |  |  |  |  | uint16
Water_Pressure |  | data | D | 215 | 1 |  |  |  |  | uint16
CO_Concentration |  | data | D | 220 | 1 |  |  |  |  | uint16
CO2_Concentration |  | data | D | 223 | 1 |  |  |  |  | uint16
ID_ERROR |  | alarm | L | 1800 | 1 |  |  |  |  | uint16
Status |  | alarm | L | 1802 | 1 |  |  |  |  | uint16
red_light |  | alarm | L | 1804 | 1 |  |  |  |  | uint16
yellow_light |  | alarm | L | 1806 | 1 |  |  |  |  | uint16
green_light |  | alarm | L | 1810 | 1 |  |  |  |  | uint16
Emergency_Stop |  | alarm | L | 1812 | 1 |  |  |  |  | uint16
Auto |  | alarm | M | 700 | 1 |  |  |  |  | uint16
Door_Open |  | alarm | M | 701 | 1 |  |  |  |  | uint16
Sensor_Error_1 |  | alarm | M | 702 | 1 |  |  |  |  | uint16
Sensor_Error_2 |  | alarm | M | 703 | 1 |  |  |  |  | uint16
Sensor_Error_3 |  | alarm | M | 704 | 1 |  |  |  |  | uint16
Sensor_Error_4 |  | alarm | M | 705 | 1 |  |  |  |  | uint16
X10_Sensor_Error_5 |  | alarm | X | 16 | 1 |  |  |  |  | uint16
X11_Sensor_Error_6 |  | alarm | X | 17 | 1 |  |  |  |  | uint16
X12_Sensor_Error_7 |  | alarm | X | 18 | 1 |  |  |  |  | uint16
X13_Sensor_Error_8 |  | alarm | X | 19 | 1 |  |  |  |  | uint16
X14_Sensor_Error_9 |  | alarm | X | 20 | 1 |  |  |  |  | uint16
X15_Sensor_Error_10 |  | alarm | X | 21 | 1 |  |  |  |  | uint16
Y100_Sensor_Error_11 |  | alarm | Y | 256 | 1 |  |  |  |  | uint16
Y101_Sensor_Error_12 |  | alarm | Y | 257 | 1 |  |  |  |  | uint16
Y102_Sensor_Error_13 |  | alarm | Y | 258 | 1 |  |  |  |  | uint16
Y103_Sensor_Error_14 |  | alarm | Y | 259 | 1 |  |  |  |  | uint16
Y104_Sensor_Error_15 |  | alarm | Y | 260 | 1 |  |  |  |  | uint16

## control-sets
| commands |  |  |  | channels
[7 empty] | raw |  |  | reverse conversion
rounding
control set | command | registerType | address | quantity | channelId | channelName | registerType | address | quantity | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode

## meta
Type | melsec-templates
Version | 0.9