## command
command | address | quantity
read-coils | 0 | 8
read-discrete-inputs | 10 | 9
read-input-registers | 0 | 4
read-holding-registers | 99 | 4

## channel
|  |  | raw |  | conversion
rounding
channelId | channelName | category | reference | quantity | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode
ID_ERROR |  | alarm | 1 | 1 |  |  |  |  | uint16
Status |  | alarm | 2 | 1 |  |  |  |  | uint16
red_light |  | alarm | 3 | 1 |  |  |  |  | uint16
yellow_light |  | alarm | 4 | 1 |  |  |  |  | uint16
green_light |  | alarm | 5 | 1 |  |  |  |  | uint16
Emergency_Stop |  | alarm | 6 | 1 |  |  |  |  | uint16
Auto |  | alarm | 7 | 1 |  |  |  |  | uint16
Door_Open |  | alarm | 8 | 1 |  |  |  |  | uint16
Sensor_Error_1 |  | alarm | 100011 | 1 |  |  |  |  | uint16
Sensor_Error_2 |  | alarm | 100012 | 1 |  |  |  |  | uint16
Sensor_Error_3 |  | alarm | 100013 | 1 |  |  |  |  | uint16
Sensor_Error_4 |  | alarm | 100014 | 1 |  |  |  |  | uint16
Sensor_Error_5 |  | alarm | 100015 | 1 |  |  |  |  | uint16
Sensor_Error_6 |  | alarm | 100016 | 1 |  |  |  |  | uint16
Sensor_Error_7 |  | alarm | 100017 | 1 |  |  |  |  | uint16
Sensor_Error_8 |  | alarm | 100018 | 1 |  |  |  |  | uint16
Sensor_Error_9 |  | alarm | 100019 | 1 |  |  |  |  | uint16
Speed |  | data | 300001 | 1 |  |  |  |  | uint16
Count |  | data | 300002 | 1 |  |  |  |  | uint16
Humidity |  | data | 300003 | 1 |  |  |  |  | uint16
Temperature |  | data | 300004 | 1 |  |  |  |  | uint16
Water_Depth |  | data | 400100 | 1 |  |  |  |  | uint16
Water_Pressure |  | data | 400101 | 1 |  |  |  |  | uint16
CO_Concentration |  | data | 400102 | 1 |  |  |  |  | uint16
CO2_Concentration |  | data | 400103 | 1 |  |  |  |  | uint16

## control-sets
| commands |  |  | channels
[6 empty] | raw |  | reverse conversion
rounding
control set | command | address | quantity | channelId | channelName | reference | quantity | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode
1 | write-single-holding-register | 99 | 1 | Water_Depth |  | 400100 | 1 |  |  |  |  | uint16

## meta
Type | modbus-templates
Version | 0.7