## command
| wordArea |  | bitArea
command | area | length | area
read-word | DT20 | 5
read-word | DT513 | 53
read-word | R31 | 2
read-bit |  |  | Y13,Y14,Y15,R30F,R9013

## channel
|  |  | raw |  |  |  | conversion
|  |  | wordArea |  | bitArea | [8 empty] | rounding
channelId | channelName | category | area | length | area | length | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode
Speed |  | data | DT20 | 1 | [6 empty] | uint16
Count |  | data | DT22 | 1 | [6 empty] | uint16
Humidity |  | data | DT24 | 1 | [6 empty] | uint16
Temperature |  | data | DT513 | 1 | [6 empty] | uint16
Water_Depth |  | data | DT530 | 1 | [6 empty] | uint16
Water_Pressure |  | data | DT563 | 1 | [6 empty] | uint16
CO_Concentration |  | data | DT564 | 1 | [6 empty] | uint16
CO2_Concentration |  | data | DT565 | 1 | [6 empty] | uint16
ID_ERROR |  | alarm |  |  | R30F | 1 |  |  |  |  | int16
Status |  | alarm |  |  | R310 | 1 |  |  |  |  | int16
red_light |  | alarm |  |  | R311 | 1 |  |  |  |  | int16
yellow_light |  | alarm |  |  | R312 | 1 |  |  |  |  | int16
green_light |  | alarm |  |  | R313 | 1 |  |  |  |  | int16
Emergency_Stop |  | alarm |  |  | R314 | 1 |  |  |  |  | int16
Auto |  | alarm |  |  | R315 | 1 |  |  |  |  | int16
Door_Open |  | alarm |  |  | R316 | 1 |  |  |  |  | int16
Sensor_Error_1 |  | alarm |  |  | R317 | 1 |  |  |  |  | int16
Sensor_Error_2 |  | alarm |  |  | R318 | 1 |  |  |  |  | int16
Sensor_Error_3 |  | alarm |  |  | R319 | 1 |  |  |  |  | int16
Sensor_Error_4 |  | alarm |  |  | R31A | 1 |  |  |  |  | int16
Sensor_Error_5 |  | alarm |  |  | R31B | 1 |  |  |  |  | int16
Sensor_Error_6 |  | alarm |  |  | R9013 | 1 |  |  |  |  | int16
Sensor_Error_7 |  | alarm |  |  | Y13 | 1 |  |  |  |  | int16
Sensor_Error_8 |  | alarm |  |  | Y14 | 1 |  |  |  |  | int16
Sensor_Error_9 |  | alarm |  |  | Y15 | 1 |  |  |  |  | int16

## control-sets
| commands |  |  |  | channels
|  | wordArea |  | bitArea |  |  | raw |  |  |  | reverse conversion
[7 empty] | wordArea |  | bitArea | [8 empty] | rounding
control set | command | area | length | area | channelId | channelName | area | length | area | length | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode

## meta
Type | mewtocol-templates
Version | 0.3