## command
command | address | length
read | DB2.DBD0 | 2
read | DB2.DBB1 | 2
read | DB2.DBW0 | 2
read | C3 | 2
read | A0.0 | 3
read | E0.0 | 3
read | DB2.DBX1.6 | 6
read | M10.0 | 5

## channel
|  |  | raw |  | conversion
rounding
channelId | channelName | category | address | length | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode
Speed |  | data | DB2.DBD0 | 1 |  |  |  |  | uint16
Count |  | data | DB2.DBD1 | 1 |  |  |  |  | uint16
Humidity |  | data | DB2.DBB1 | 1 |  |  |  |  | uint16
Temperature |  | data | DB2.DBB2 | 1 |  |  |  |  | uint16
Water_Depth |  | data | DB2.DBW0 | 1 |  |  |  |  | uint16
Water_Pressure |  | data | DB2.DBW1 | 1 |  |  |  |  | uint16
CO_Concentration |  | data | C3 | 1 |  |  |  |  | uint16
CO2_Concentration |  | data | C4 | 1 |  |  |  |  | uint16
ID_ERROR |  | alarm | A0.0 | 1 |  |  |  |  | uint16
Status |  | alarm | A0.1 | 1 |  |  |  |  | uint16
red_light |  | alarm | A0.2 | 1 |  |  |  |  | uint16
yellow_light |  | alarm | E0.0 | 1 |  |  |  |  | uint16
green_light |  | alarm | E0.1 | 1 |  |  |  |  | uint16
Emergency_Stop |  | alarm | E0.2 | 1 |  |  |  |  | uint16
Auto |  | alarm | DB2.DBX1.6 | 1 |  |  |  |  | uint16
Door_Open |  | alarm | DB2.DBX1.7 | 1 |  |  |  |  | uint16
Sensor_Error_1 |  | alarm | DB2.DBX2.0 | 1 |  |  |  |  | uint16
Sensor_Error_2 |  | alarm | DB2.DBX2.1 | 1 |  |  |  |  | uint16
Sensor_Error_3 |  | alarm | DB2.DBX2.2 | 1 |  |  |  |  | uint16
Sensor_Error_4 |  | alarm | DB2.DBX2.3 | 1 |  |  |  |  | uint16
Sensor_Error_5 |  | alarm | M10.0 | 1 |  |  |  |  | uint16
Sensor_Error_6 |  | alarm | M10.1 | 1 |  |  |  |  | uint16
Sensor_Error_7 |  | alarm | M10.2 | 1 |  |  |  |  | uint16
Sensor_Error_8 |  | alarm | M10.3 | 1 |  |  |  |  | uint16
Sensor_Error_9 |  | alarm | M10.4 | 1 |  |  |  |  | uint16

## control-sets
| commands |  |  | channels
[6 empty] | raw |  | reverse conversion
rounding
control set | command | address | length | channelId | channelName | address | length | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset | position | mode

## meta
Type | step7-templates
Version | 0.8