## protocol
frame | 3E
code | ascii

## command
command | registerType | address | quantity
read-word | D | 100 | 91
read-word | D | 200 | 191
read-word | D | 900 | 31
read-bit | M | 1000 | 223
read-word | D | 100 | 91
read-word | D | 500 | 250
read-word | D | 11 | 2

## channel
|  |  | raw |  |  | conversion
channelId | channelName | category | registerType | address | quantity | byteOrder | rotateLeft | andMask | orMask | asType | multiplier | offset
D100 | 工時統計 | data | D | 100 | 2 |  |  |  |  | uint32 | 0.1
D102 | 總片數 | data | D | 102 | 2 | CDAB |  |  |  | uint32 | 1
D104 | 片數 | data | D | 104 | 2 | CDAB |  |  |  | uint32 | 1
D106 | 總面積 | data | D | 106 | 2 |  |  |  |  | uint32 | 0.1
D108 | 面積 | data | D | 108 | 2 |  |  |  |  | uint32 | 0.1
D110 | 入料線速度 | data | D | 110 | 1 |  |  |  |  | uint16 | 0.1
D120 | 顯影線速度 | data | D | 120 | 1 |  |  |  |  | uint16 | 0.1
D130 | 蝕刻線速度 | data | D | 130 | 1 |  |  |  |  | uint16 | 0.1
D140 | 剝膜線速度 | data | D | 140 | 1 |  |  |  |  | uint16 | 0.1
D150 | 顯影-1上噴壓 | data | D | 150 | 1 |  |  |  |  | uint16 | 0.01
D900 | 顯影-1下噴壓 | data | D | 900 | 1 |  |  |  |  | uint16 | 0.01
D160 | 顯影-2上噴壓 | data | D | 160 | 1 |  |  |  |  | uint16 | 0.01
D910 | 顯影-2下噴壓 | data | D | 910 | 1 |  |  |  |  | uint16 | 0.01
D170 | 蝕刻-1上噴壓 | data | D | 170 | 1 |  |  |  |  | uint16 | 0.01
D180 | 蝕刻-1下噴壓 | data | D | 180 | 1 |  |  |  |  | uint16 | 0.01
D190 | 蝕刻-1吸引壓力 | data | D | 190 | 1 |  |  |  |  | uint16 | 0.01
D200 | 蝕刻-2上噴壓 | data | D | 200 | 1 |  |  |  |  | uint16 | 0.01
D210 | 蝕刻-2下噴壓 | data | D | 210 | 1 |  |  |  |  | uint16 | 0.01
D220 | 蝕刻-2吸引壓力 | data | D | 220 | 1 |  |  |  |  | uint16 | 0.01
D230 | 蝕刻-3上噴壓 | data | D | 230 | 1 |  |  |  |  | uint16 | 0.01
D920 | 蝕刻-3下噴壓 | data | D | 920 | 1 |  |  |  |  | uint16 | 0.01
D380 | 蝕刻-3上空壓 | data | D | 380 | 1 |  |  |  |  | uint16 | 0.01
D390 | 蝕刻-3下空壓 | data | D | 390 | 1 |  |  |  |  | uint16 | 0.01
D250 | 剝膜上噴壓 | data | D | 250 | 1 |  |  |  |  | uint16 | 0.01
D930 | 剝膜下噴壓 | data | D | 930 | 1 |  |  |  |  | uint16 | 0.01
M1000 | 顯影-1 過熱預告 | alarm | M | 1000 | 1 |  |  |  |  | uint16 | 1
M1001 | 顯影-1 過熱 | alarm | M | 1001 | 1 |  |  |  |  | uint16 | 1
M1002 | 顯影-1 加熱器 過熱 | alarm | M | 1002 | 1 |  |  |  |  | uint16 | 1
M1003 | 顯影-2 過熱預告 | alarm | M | 1003 | 1 |  |  |  |  | uint16 | 1
M1004 | 顯影-2 過熱 | alarm | M | 1004 | 1 |  |  |  |  | uint16 | 1
M1005 | 顯影-2 加熱器 過熱 | alarm | M | 1005 | 1 |  |  |  |  | uint16 | 1
M1006 | 顯影 新液洗 過熱預告 | alarm | M | 1006 | 1 |  |  |  |  | uint16 | 1
M1007 | 顯影 新液洗 過熱 | alarm | M | 1007 | 1 |  |  |  |  | uint16 | 1
M1008 | 顯影 新液洗 加熱器 過熱 | alarm | M | 1008 | 1 |  |  |  |  | uint16 | 1
M1009 | 蝕刻 過熱預告 | alarm | M | 1009 | 1 |  |  |  |  | uint16 | 1
M1010 | 蝕刻過熱 | alarm | M | 1010 | 1 |  |  |  |  | uint16 | 1
M1011 | 蝕刻 加熱器 過熱 | alarm | M | 1011 | 1 |  |  |  |  | uint16 | 1
M1012 | 蝕刻-3 二流體 空氣過熱 | alarm | M | 1012 | 1 |  |  |  |  | uint16 | 1
M1013 | 蝕刻-3 二流體 空氣加熱器過熱 | alarm | M | 1013 | 1 |  |  |  |  | uint16 | 1
M1014 | 蝕刻酸洗過熱預告 | alarm | M | 1014 | 1 |  |  |  |  | uint16 | 1
M1015 | 蝕刻酸洗過熱 | alarm | M | 1015 | 1 |  |  |  |  | uint16 | 1
M1016 | 蝕刻酸洗加熱器 過熱 | alarm | M | 1016 | 1 |  |  |  |  | uint16 | 1
M1017 | 剝膜 過熱預告 | alarm | M | 1017 | 1 |  |  |  |  | uint16 | 1
M1018 | 剝膜過熱 | alarm | M | 1018 | 1 |  |  |  |  | uint16 | 1
M1019 | 剝膜 加熱器 過熱 | alarm | M | 1019 | 1 |  |  |  |  | uint16 | 1
M1020 | 剝膜 新液洗 過熱預告 | alarm | M | 1020 | 1 |  |  |  |  | uint16 | 1
M1021 | 剝膜 新液洗 過熱 | alarm | M | 1021 | 1 |  |  |  |  | uint16 | 1
M1022 | 剝膜 新液洗 加熱器 過熱 | alarm | M | 1022 | 1 |  |  |  |  | uint16 | 1
M1023 | 剝膜 酸洗過熱 | alarm | M | 1023 | 1 |  |  |  |  | uint16 | 1
M1024 | 乾燥機 過熱 | alarm | M | 1024 | 1 |  |  |  |  | uint16 | 1
M1025 | 乾燥機 加熱器 過熱 | alarm | M | 1025 | 1 |  |  |  |  | uint16 | 1
M1026 | 顯影 添加槽 過熱 | alarm | M | 1026 | 1 |  |  |  |  | uint16 | 1
M1027 | 顯影 添加槽 加熱器 過熱 | alarm | M | 1027 | 1 |  |  |  |  | uint16 | 1
M1028 | 剝膜 添加槽 過熱 | alarm | M | 1028 | 1 |  |  |  |  | uint16 | 1
M1029 | 剝膜 添加槽 加熱器 過熱 | alarm | M | 1029 | 1 |  |  |  |  | uint16 | 1
M1030 | 顯影-1 高位 | alarm | M | 1030 | 1 |  |  |  |  | uint16 | 1
M1031 | 顯影-1 低位預告 | alarm | M | 1031 | 1 |  |  |  |  | uint16 | 1
M1032 | 顯影-1 低位 | alarm | M | 1032 | 1 |  |  |  |  | uint16 | 1
M1033 | 顯影-2 高位 | alarm | M | 1033 | 1 |  |  |  |  | uint16 | 1
M1034 | 顯影-2 低位預告 | alarm | M | 1034 | 1 |  |  |  |  | uint16 | 1
M1035 | 顯影-2 低位 | alarm | M | 1035 | 1 |  |  |  |  | uint16 | 1
M1036 | 顯影 新液洗 高位 | alarm | M | 1036 | 1 |  |  |  |  | uint16 | 1
M1037 | 顯影 新液洗 低位預告 | alarm | M | 1037 | 1 |  |  |  |  | uint16 | 1
M1038 | 顯影 新液洗 低位 | alarm | M | 1038 | 1 |  |  |  |  | uint16 | 1
M1039 | 顯影 水洗-1 低位 | alarm | M | 1039 | 1 |  |  |  |  | uint16 | 1
M1040 | 顯影 水洗-2 低位 | alarm | M | 1040 | 1 |  |  |  |  | uint16 | 1
M1041 | 顯影 水洗-3 低位 | alarm | M | 1041 | 1 |  |  |  |  | uint16 | 1
M1042 | 顯影 水洗-4 低位 | alarm | M | 1042 | 1 |  |  |  |  | uint16 | 1
M1043 | 顯影 水洗-5 低位 | alarm | M | 1043 | 1 |  |  |  |  | uint16 | 1
M1044 | 蝕刻高位 | alarm | M | 1044 | 1 |  |  |  |  | uint16 | 1
M1045 | 蝕刻低位預告 | alarm | M | 1045 | 1 |  |  |  |  | uint16 | 1
M1046 | 蝕刻低位 | alarm | M | 1046 | 1 |  |  |  |  | uint16 | 1
M1047 | 水濂機 低位 | alarm | M | 1047 | 1 |  |  |  |  | uint16 | 1
M1048 | 蝕刻酸洗高位 | alarm | M | 1048 | 1 |  |  |  |  | uint16 | 1
M1049 | 蝕刻酸洗低位預告 | alarm | M | 1049 | 1 |  |  |  |  | uint16 | 1
M1050 | 蝕刻酸洗低位 | alarm | M | 1050 | 1 |  |  |  |  | uint16 | 1
M1051 | 蝕刻 水洗-1 低位 | alarm | M | 1051 | 1 |  |  |  |  | uint16 | 1
M1052 | 蝕刻 水洗-2 低位 | alarm | M | 1052 | 1 |  |  |  |  | uint16 | 1
M1053 | 蝕刻 水洗-3 低位 | alarm | M | 1053 | 1 |  |  |  |  | uint16 | 1
M1054 | 剝膜高位 | alarm | M | 1054 | 1 |  |  |  |  | uint16 | 1
M1055 | 剝膜低位預告 | alarm | M | 1055 | 1 |  |  |  |  | uint16 | 1
M1056 | 剝膜低位 | alarm | M | 1056 | 1 |  |  |  |  | uint16 | 1
M1057 | 剝膜 新液洗 高位 | alarm | M | 1057 | 1 |  |  |  |  | uint16 | 1
M1058 | 剝膜 新液洗 低位預告 | alarm | M | 1058 | 1 |  |  |  |  | uint16 | 1
M1059 | 剝膜 新液洗 低位 | alarm | M | 1059 | 1 |  |  |  |  | uint16 | 1
M1060 | 剝膜 水洗-1 低位 | alarm | M | 1060 | 1 |  |  |  |  | uint16 | 1
M1061 | 剝膜 水洗-2 低位 | alarm | M | 1061 | 1 |  |  |  |  | uint16 | 1
M1062 | 剝膜酸洗高位 | alarm | M | 1062 | 1 |  |  |  |  | uint16 | 1
M1063 | 剝膜酸洗低位預告 | alarm | M | 1063 | 1 |  |  |  |  | uint16 | 1
M1064 | 剝膜酸洗低位 | alarm | M | 1064 | 1 |  |  |  |  | uint16 | 1
M1065 | 剝膜 水洗-3 低位 | alarm | M | 1065 | 1 |  |  |  |  | uint16 | 1
M1066 | 剝膜 水洗-4 低位 | alarm | M | 1066 | 1 |  |  |  |  | uint16 | 1
M1067 | 剝膜 水洗-5 低位 | alarm | M | 1067 | 1 |  |  |  |  | uint16 | 1
M1068 | 顯影 添加槽 高位 | alarm | M | 1068 | 1 |  |  |  |  | uint16 | 1
M1069 | 顯影 添加槽 低位預告 | alarm | M | 1069 | 1 |  |  |  |  | uint16 | 1
M1070 | 顯影 添加槽 低位 | alarm | M | 1070 | 1 |  |  |  |  | uint16 | 1
M1071 | 鹽酸槽 高位 | alarm | M | 1071 | 1 |  |  |  |  | uint16 | 1
M1072 | 鹽酸槽 低位 | alarm | M | 1072 | 1 |  |  |  |  | uint16 | 1
M1073 | 雙氧水槽高位 | alarm | M | 1073 | 1 |  |  |  |  | uint16 | 1
M1074 | 雙氧水槽低位 | alarm | M | 1074 | 1 |  |  |  |  | uint16 | 1
M1075 | 剝膜 添加槽 高位 | alarm | M | 1075 | 1 |  |  |  |  | uint16 | 1
M1076 | 剝膜 添加槽 低位預告 | alarm | M | 1076 | 1 |  |  |  |  | uint16 | 1
M1077 | 剝膜 添加槽 低位 | alarm | M | 1077 | 1 |  |  |  |  | uint16 | 1
M1078 | 剝膜 消泡劑槽低位 | alarm | M | 1078 | 1 |  |  |  |  | uint16 | 1
M1079 | 顯影-1 計量盒 高位 | alarm | M | 1079 | 1 |  |  |  |  | uint16 | 1
M1080 | 顯影-1 計量盒 添加異常 | alarm | M | 1080 | 1 |  |  |  |  | uint16 | 1
M1081 | 顯影-1 計量盒 補液異常 | alarm | M | 1081 | 1 |  |  |  |  | uint16 | 1
M1082 | 顯影-2 計量盒 高位 | alarm | M | 1082 | 1 |  |  |  |  | uint16 | 1
M1083 | 顯影-2 計量盒 添加異常 | alarm | M | 1083 | 1 |  |  |  |  | uint16 | 1
M1084 | 顯影-2 計量盒 補液異常 | alarm | M | 1084 | 1 |  |  |  |  | uint16 | 1
M1085 | 蝕刻酸洗計量盒 高位 | alarm | M | 1085 | 1 |  |  |  |  | uint16 | 1
M1086 | 蝕刻酸洗計量盒 添加異常 | alarm | M | 1086 | 1 |  |  |  |  | uint16 | 1
M1087 | 蝕刻酸洗計量盒 補液異常 | alarm | M | 1087 | 1 |  |  |  |  | uint16 | 1
M1088 | 剝膜 計量盒 高位 | alarm | M | 1088 | 1 |  |  |  |  | uint16 | 1
M1089 | 剝膜 計量盒 添加異常 | alarm | M | 1089 | 1 |  |  |  |  | uint16 | 1
M1090 | 剝膜 計量盒 補液異常 | alarm | M | 1090 | 1 |  |  |  |  | uint16 | 1
M1091 | 顯影 建浴槽 高位 | alarm | M | 1091 | 1 |  |  |  |  | uint16 | 1
M1092 | 顯影 建浴槽 低位 | alarm | M | 1092 | 1 |  |  |  |  | uint16 | 1
M1093 | 剝膜 建浴槽 高位 | alarm | M | 1093 | 1 |  |  |  |  | uint16 | 1
M1094 | 剝膜 建浴槽 低位 | alarm | M | 1094 | 1 |  |  |  |  | uint16 | 1
M1095 | 預備 | alarm | M | 1095 | 1 |  |  |  |  | uint16 | 1
M1096 | 預備 | alarm | M | 1096 | 1 |  |  |  |  | uint16 | 1
M1097 | 入料輸送速度異常 | alarm | M | 1097 | 1 |  |  |  |  | uint16 | 1
M1098 | 顯影輸送速度異常 | alarm | M | 1098 | 1 |  |  |  |  | uint16 | 1
M1099 | 蝕刻輸送速度異常 | alarm | M | 1099 | 1 |  |  |  |  | uint16 | 1
M1100 | 剝膜輸送速度異常 | alarm | M | 1100 | 1 |  |  |  |  | uint16 | 1
M1101 | 顯影-1 噴霧壓力異常 | alarm | M | 1101 | 1 |  |  |  |  | uint16 | 1
M1102 | 顯影-2 噴霧壓力異常 | alarm | M | 1102 | 1 |  |  |  |  | uint16 | 1
M1103 | 蝕刻-1 上噴壓力異常 | alarm | M | 1103 | 1 |  |  |  |  | uint16 | 1
M1104 | 蝕刻-1 下噴壓力異常 | alarm | M | 1104 | 1 |  |  |  |  | uint16 | 1
M1105 | 蝕刻-1 吸引壓力異常 | alarm | M | 1105 | 1 |  |  |  |  | uint16 | 1
M1106 | 蝕刻-2 上噴壓力異常 | alarm | M | 1106 | 1 |  |  |  |  | uint16 | 1
M1107 | 蝕刻-2 下噴壓力異常 | alarm | M | 1107 | 1 |  |  |  |  | uint16 | 1
M1108 | 蝕刻-2 吸引壓力異常 | alarm | M | 1108 | 1 |  |  |  |  | uint16 | 1
M1109 | 蝕刻-3 噴霧壓力異常 | alarm | M | 1109 | 1 |  |  |  |  | uint16 | 1
M1110 | 剝膜噴霧壓力異常 | alarm | M | 1110 | 1 |  |  |  |  | uint16 | 1
M1111 | 蝕刻-3 空氣總壓異常 | alarm | M | 1111 | 1 |  |  |  |  | uint16 | 1
M1112 | 蝕刻-3 上噴空氣壓力異常 | alarm | M | 1112 | 1 |  |  |  |  | uint16 | 1
M1113 | 蝕刻-3 下噴空氣壓力異常 | alarm | M | 1113 | 1 |  |  |  |  | uint16 | 1
M1114 | 顯影 新液洗 壓力異常 | alarm | M | 1114 | 1 |  |  |  |  | uint16 | 1
M1115 | 顯影 水洗-1 壓力異常 | alarm | M | 1115 | 1 |  |  |  |  | uint16 | 1
M1116 | 顯影 水洗-2 壓力異常 | alarm | M | 1116 | 1 |  |  |  |  | uint16 | 1
M1117 | 顯影 水洗-3 壓力異常 | alarm | M | 1117 | 1 |  |  |  |  | uint16 | 1
M1118 | 顯影 水洗-4 壓力異常 | alarm | M | 1118 | 1 |  |  |  |  | uint16 | 1
M1119 | 顯影 水洗-5 壓力異常 | alarm | M | 1119 | 1 |  |  |  |  | uint16 | 1
M1120 | 蝕刻酸洗壓力異常 | alarm | M | 1120 | 1 |  |  |  |  | uint16 | 1
M1121 | 蝕刻 水洗-1 壓力異常 | alarm | M | 1121 | 1 |  |  |  |  | uint16 | 1
M1122 | 蝕刻 水洗-2 壓力異常 | alarm | M | 1122 | 1 |  |  |  |  | uint16 | 1
M1123 | 蝕刻 水洗-3 壓力異常 | alarm | M | 1123 | 1 |  |  |  |  | uint16 | 1
M1124 | 剝膜 過濾器 壓力異常 | alarm | M | 1124 | 1 |  |  |  |  | uint16 | 1
M1125 | 剝膜 新液洗 壓力異常 | alarm | M | 1125 | 1 |  |  |  |  | uint16 | 1
M1126 | 剝膜 水洗-1 壓力異常 | alarm | M | 1126 | 1 |  |  |  |  | uint16 | 1
M1127 | 剝膜 水洗-2 壓力異常 | alarm | M | 1127 | 1 |  |  |  |  | uint16 | 1
M1128 | 剝膜酸洗壓力異常 | alarm | M | 1128 | 1 |  |  |  |  | uint16 | 1
M1129 | 剝膜 水洗-3 壓力異常 | alarm | M | 1129 | 1 |  |  |  |  | uint16 | 1
M1130 | 剝膜 水洗-4 壓力異常 | alarm | M | 1130 | 1 |  |  |  |  | uint16 | 1
M1131 | 剝膜 水洗-5 壓力異常 | alarm | M | 1131 | 1 |  |  |  |  | uint16 | 1
M1132 | 風刀-1 壓力異常 | alarm | M | 1132 | 1 |  |  |  |  | uint16 | 1
M1133 | 風刀-2 壓力異常 | alarm | M | 1133 | 1 |  |  |  |  | uint16 | 1
M1134 | 熱風循環壓力異常 | alarm | M | 1134 | 1 |  |  |  |  | uint16 | 1
M1135 | 入料輸送變頻器 異常 | alarm | M | 1135 | 1 |  |  |  |  | uint16 | 1
M1136 | 顯影 輸送-1 變頻器 異常 | alarm | M | 1136 | 1 |  |  |  |  | uint16 | 1
M1137 | 顯影 輸送-2 變頻器 異常 | alarm | M | 1137 | 1 |  |  |  |  | uint16 | 1
M1138 | 顯影-1 噴霧 變頻器 異常 | alarm | M | 1138 | 1 |  |  |  |  | uint16 | 1
M1139 | 顯影-2 噴霧 變頻器 異常 | alarm | M | 1139 | 1 |  |  |  |  | uint16 | 1
M1140 | 蝕刻 輸送-1 變頻器 異常 | alarm | M | 1140 | 1 |  |  |  |  | uint16 | 1
M1141 | 蝕刻 輸送-2 變頻器 異常 | alarm | M | 1141 | 1 |  |  |  |  | uint16 | 1
M1142 | 預蝕刻 噴霧 變頻器 異常 | alarm | M | 1142 | 1 |  |  |  |  | uint16 | 1
M1143 | 蝕刻-1 上噴 變頻器 異常 | alarm | M | 1143 | 1 |  |  |  |  | uint16 | 1
M1144 | 蝕刻-1 下噴 變頻器 異常 | alarm | M | 1144 | 1 |  |  |  |  | uint16 | 1
M1145 | 蝕刻-1 吸引 變頻器 異常 | alarm | M | 1145 | 1 |  |  |  |  | uint16 | 1
M1146 | 蝕刻-2 噴霧 變頻器 異常 | alarm | M | 1146 | 1 |  |  |  |  | uint16 | 1
M1147 | 蝕刻-2 吸引 變頻器 異常 | alarm | M | 1147 | 1 |  |  |  |  | uint16 | 1
M1148 | 蝕刻-3 噴霧 變頻器 異常 | alarm | M | 1148 | 1 |  |  |  |  | uint16 | 1
M1149 | 剝膜 輸送-1 變頻器 異常 | alarm | M | 1149 | 1 |  |  |  |  | uint16 | 1
M1150 | 剝膜 輸送-2 變頻器 異常 | alarm | M | 1150 | 1 |  |  |  |  | uint16 | 1
M1151 | 剝膜噴霧變頻器 異常 | alarm | M | 1151 | 1 |  |  |  |  | uint16 | 1
M1152 | 剝膜 震盪-1 變頻器 異常 | alarm | M | 1152 | 1 |  |  |  |  | uint16 | 1
M1153 | 剝膜 震盪-2 變頻器 異常 | alarm | M | 1153 | 1 |  |  |  |  | uint16 | 1
M1154 | 風刀-1 變頻器 異常 | alarm | M | 1154 | 1 |  |  |  |  | uint16 | 1
M1155 | 風刀-2 變頻器 異常 | alarm | M | 1155 | 1 |  |  |  |  | uint16 | 1
M1156 | 顯影-1 噴霧 過濾筒 未關 | alarm | M | 1156 | 1 |  |  |  |  | uint16 | 1
M1157 | 顯影-2 噴霧 過濾筒 未關 | alarm | M | 1157 | 1 |  |  |  |  | uint16 | 1
M1158 | 顯影 新液洗 過濾筒 未關 | alarm | M | 1158 | 1 |  |  |  |  | uint16 | 1
M1159 | 預蝕刻 噴霧 過濾筒 未關 | alarm | M | 1159 | 1 |  |  |  |  | uint16 | 1
M1160 | 蝕刻-1 上噴 過濾筒 未關 | alarm | M | 1160 | 1 |  |  |  |  | uint16 | 1
M1161 | 蝕刻-1 下噴 過濾筒 未關 | alarm | M | 1161 | 1 |  |  |  |  | uint16 | 1
M1162 | 蝕刻-2 噴霧 過濾筒 未關 | alarm | M | 1162 | 1 |  |  |  |  | uint16 | 1
M1163 | 蝕刻-3 噴霧 過濾筒 未關 | alarm | M | 1163 | 1 |  |  |  |  | uint16 | 1
M1164 | 蝕刻 酸洗噴霧過濾筒 未關 | alarm | M | 1164 | 1 |  |  |  |  | uint16 | 1
M1165 | 剝膜 新液洗 過濾筒 未關 | alarm | M | 1165 | 1 |  |  |  |  | uint16 | 1
M1166 | 剝膜 酸洗噴霧過濾筒 未關 | alarm | M | 1166 | 1 |  |  |  |  | uint16 | 1
M1167 | 顯影-1 門窗未關 | alarm | M | 1167 | 1 |  |  |  |  | uint16 | 1
M1168 | 顯影-2 門窗未關 | alarm | M | 1168 | 1 |  |  |  |  | uint16 | 1
M1169 | 顯影 新液洗 門窗未關 | alarm | M | 1169 | 1 |  |  |  |  | uint16 | 1
M1170 | 預蝕刻 門窗未關 | alarm | M | 1170 | 1 |  |  |  |  | uint16 | 1
M1171 | 蝕刻-1 門窗未關 | alarm | M | 1171 | 1 |  |  |  |  | uint16 | 1
M1172 | 蝕刻-2 門窗未關 | alarm | M | 1172 | 1 |  |  |  |  | uint16 | 1
M1173 | 蝕刻-3 門窗未關 | alarm | M | 1173 | 1 |  |  |  |  | uint16 | 1
M1174 | 蝕刻酸洗門窗未關 | alarm | M | 1174 | 1 |  |  |  |  | uint16 | 1
M1175 | 剝膜 門窗未關 | alarm | M | 1175 | 1 |  |  |  |  | uint16 | 1
M1176 | 剝膜 新液洗 門窗未關 | alarm | M | 1176 | 1 |  |  |  |  | uint16 | 1
M1177 | 剝膜酸洗門窗未關 | alarm | M | 1177 | 1 |  |  |  |  | uint16 | 1
M1178 | 上岳控制器異常 | alarm | M | 1178 | 1 |  |  |  |  | uint16 | 1
M1179 | 蝕刻 雙氧水 添加異常 | alarm | M | 1179 | 1 |  |  |  |  | uint16 | 1
M1180 | 顯影卡板 | alarm | M | 1180 | 1 |  |  |  |  | uint16 | 1
M1181 | 蝕刻卡板 | alarm | M | 1181 | 1 |  |  |  |  | uint16 | 1
M1182 | 剝膜卡板 | alarm | M | 1182 | 1 |  |  |  |  | uint16 | 1
M1183 | SPS槽高位 | alarm | M | 1183 | 1 |  |  |  |  | uint16 | 1
M1184 | SPS槽低位 | alarm | M | 1184 | 1 |  |  |  |  | uint16 | 1
M1185 | 剝膜酸洗計量盒 高位 | alarm | M | 1185 | 1 |  |  |  |  | uint16 | 1
M1186 | 剝膜酸洗計量盒 添加異常 | alarm | M | 1186 | 1 |  |  |  |  | uint16 | 1
M1187 | 剝膜酸洗計量盒 補液異常 | alarm | M | 1187 | 1 |  |  |  |  | uint16 | 1
M1188 | 預備 | alarm | M | 1188 | 1 |  |  |  |  | uint16 | 1
M1189 | 預備 | alarm | M | 1189 | 1 |  |  |  |  | uint16 | 1
M1190 | B箱電源 未開 | alarm | M | 1190 | 1 |  |  |  |  | uint16 | 1
M1191 | A箱過載 | alarm | M | 1191 | 1 |  |  |  |  | uint16 | 1
M1192 | B箱過載 | alarm | M | 1192 | 1 |  |  |  |  | uint16 | 1
M1193 | 緊急停止 | alarm | M | 1193 | 1 |  |  |  |  | uint16 | 1
M1194 | 壓縮空氣壓力異常 | alarm | M | 1194 | 1 |  |  |  |  | uint16 | 1
M1195 | 預備 | alarm | M | 1195 | 1 |  |  |  |  | uint16 | 1
M1196 | 鹽酸槽 補液異常 | alarm | M | 1196 | 1 |  |  |  |  | uint16 | 1
M1197 | 雙氧水槽補液異常 | alarm | M | 1197 | 1 |  |  |  |  | uint16 | 1
M1198 | 預備 | alarm | M | 1198 | 1 |  |  |  |  | uint16 | 1
M1199 | 預備 | alarm | M | 1199 | 1 |  |  |  |  | uint16 | 1
M1200 | 預備 | alarm | M | 1200 | 1 |  |  |  |  | uint16 | 1
M1201 | 預備 | alarm | M | 1201 | 1 |  |  |  |  | uint16 | 1
M1202 | 顯影 水洗-1 給水異常 | alarm | M | 1202 | 1 |  |  |  |  | uint16 | 1
M1203 | 顯影 水洗-3 給水異常 | alarm | M | 1203 | 1 |  |  |  |  | uint16 | 1
M1204 | 顯影 水洗-5 給水異常 | alarm | M | 1204 | 1 |  |  |  |  | uint16 | 1
M1205 | 蝕刻 水洗-3 給水異常 | alarm | M | 1205 | 1 |  |  |  |  | uint16 | 1
M1206 | 剝膜 水洗-2 給水異常 | alarm | M | 1206 | 1 |  |  |  |  | uint16 | 1
M1207 | 剝膜 水洗-5 給水異常 | alarm | M | 1207 | 1 |  |  |  |  | uint16 | 1
M1208 | 剝膜水洗-5未開,輸送3分鐘後停止 | alarm | M | 1208 | 1 |  |  |  |  | uint16 | 1
M1209 | 蝕刻-3藥液動作不正常(氣動閥未開) | alarm | M | 1209 | 1 |  |  |  |  | uint16 | 1
M1210 | 蝕刻-3 藥水倒灌 | alarm | M | 1210 | 1 |  |  |  |  | uint16 | 1
M1211 | A箱 偵煙警報 | alarm | M | 1211 | 1 |  |  |  |  | uint16 | 1
M1212 | B箱 偵煙警報 | alarm | M | 1212 | 1 |  |  |  |  | uint16 | 1
M1213 | 門窗保護功能解除 | alarm | M | 1213 | 1 |  |  |  |  | uint16 | 1
M1214 | 預備 | alarm | M | 1214 | 1 |  |  |  |  | uint16 | 1
M1215 | 顯影-1 溫度不足 | alarm | M | 1215 | 1 |  |  |  |  | uint16 | 1
M1216 | 顯影-2 溫度不足 | alarm | M | 1216 | 1 |  |  |  |  | uint16 | 1
M1217 | 顯影 新液洗 溫度不足 | alarm | M | 1217 | 1 |  |  |  |  | uint16 | 1
M1218 | 蝕刻 溫度不足 | alarm | M | 1218 | 1 |  |  |  |  | uint16 | 1
M1219 | 蝕刻酸洗溫度不足 | alarm | M | 1219 | 1 |  |  |  |  | uint16 | 1
M1220 | 剝膜溫度不足 | alarm | M | 1220 | 1 |  |  |  |  | uint16 | 1
M1221 | 剝膜 新液洗 溫度不足 | alarm | M | 1221 | 1 |  |  |  |  | uint16 | 1
M1222 | 乾燥機 溫度不足 | alarm | M | 1222 | 1 |  |  |  |  | uint16 | 1
D500 |  | data | D | 500 | 1 |  |  |  |  | uint16
D501 |  | data | D | 501 | 1 |  |  |  |  | uint16
D502 |  | data | D | 502 | 1 |  |  |  |  | uint16
D503 |  | data | D | 503 | 1 |  |  |  |  | uint16
D504 |  | data | D | 504 | 1 |  |  |  |  | uint16
D505 |  | data | D | 505 | 1 |  |  |  |  | uint16
D506 |  | data | D | 506 | 1 |  |  |  |  | uint16
D507 |  | data | D | 507 | 1 |  |  |  |  | uint16
D508 |  | data | D | 508 | 1 |  |  |  |  | uint16
D509 |  | data | D | 509 | 1 |  |  |  |  | uint16
D510 |  | data | D | 510 | 1 |  |  |  |  | uint16
D511 |  | data | D | 511 | 1 |  |  |  |  | uint16
D512 |  | data | D | 512 | 1 |  |  |  |  | uint16
D513 |  | data | D | 513 | 1 |  |  |  |  | uint16
D514 |  | data | D | 514 | 1 |  |  |  |  | uint16
D515 |  | data | D | 515 | 1 |  |  |  |  | uint16
D516 |  | data | D | 516 | 1 |  |  |  |  | uint16
D517 |  | data | D | 517 | 1 |  |  |  |  | uint16
D518 |  | data | D | 518 | 1 |  |  |  |  | uint16
D519 |  | data | D | 519 | 1 |  |  |  |  | uint16
D520 |  | data | D | 520 | 1 |  |  |  |  | uint16
D521 |  | data | D | 521 | 1 |  |  |  |  | uint16
D522 |  | data | D | 522 | 1 |  |  |  |  | uint16
D523 |  | data | D | 523 | 1 |  |  |  |  | uint16
D524 |  | data | D | 524 | 1 |  |  |  |  | uint16
D525 |  | data | D | 525 | 1 |  |  |  |  | uint16
D526 |  | data | D | 526 | 1 |  |  |  |  | uint16
D527 |  | data | D | 527 | 1 |  |  |  |  | uint16
D528 |  | data | D | 528 | 1 |  |  |  |  | uint16
D529 |  | data | D | 529 | 1 |  |  |  |  | uint16
D530 |  | data | D | 530 | 1 |  |  |  |  | uint16
D531 |  | data | D | 531 | 1 |  |  |  |  | uint16
D532 |  | data | D | 532 | 1 |  |  |  |  | uint16
D533 |  | data | D | 533 | 1 |  |  |  |  | uint16
D534 |  | data | D | 534 | 1 |  |  |  |  | uint16
D535 |  | data | D | 535 | 1 |  |  |  |  | uint16
D536 |  | data | D | 536 | 1 |  |  |  |  | uint16
D537 |  | data | D | 537 | 1 |  |  |  |  | uint16
D538 |  | data | D | 538 | 1 |  |  |  |  | uint16
D539 |  | data | D | 539 | 1 |  |  |  |  | uint16
D540 |  | data | D | 540 | 1 |  |  |  |  | uint16
D541 |  | data | D | 541 | 1 |  |  |  |  | uint16
D542 |  | data | D | 542 | 1 |  |  |  |  | uint16
D543 |  | data | D | 543 | 1 |  |  |  |  | uint16
D544 |  | data | D | 544 | 1 |  |  |  |  | uint16
D545 |  | data | D | 545 | 1 |  |  |  |  | uint16
D546 |  | data | D | 546 | 1 |  |  |  |  | uint16
D547 |  | data | D | 547 | 1 |  |  |  |  | uint16
D548 |  | data | D | 548 | 1 |  |  |  |  | uint16
D549 |  | data | D | 549 | 1 |  |  |  |  | uint16
D550 |  | data | D | 550 | 1 |  |  |  |  | uint16
D551 |  | data | D | 551 | 1 |  |  |  |  | uint16
D552 |  | data | D | 552 | 1 |  |  |  |  | uint16
D553 |  | data | D | 553 | 1 |  |  |  |  | uint16
D554 |  | data | D | 554 | 1 |  |  |  |  | uint16
D555 |  | data | D | 555 | 1 |  |  |  |  | uint16
D556 |  | data | D | 556 | 1 |  |  |  |  | uint16
D557 |  | data | D | 557 | 1 |  |  |  |  | uint16
D558 |  | data | D | 558 | 1 |  |  |  |  | uint16
D559 |  | data | D | 559 | 1 |  |  |  |  | uint16
D560 |  | data | D | 560 | 1 |  |  |  |  | uint16
D561 |  | data | D | 561 | 1 |  |  |  |  | uint16
D562 |  | data | D | 562 | 1 |  |  |  |  | uint16
D563 |  | data | D | 563 | 1 |  |  |  |  | uint16
D564 |  | data | D | 564 | 1 |  |  |  |  | uint16
D565 |  | data | D | 565 | 1 |  |  |  |  | uint16
D566 |  | data | D | 566 | 1 |  |  |  |  | uint16
D567 |  | data | D | 567 | 1 |  |  |  |  | uint16
D568 |  | data | D | 568 | 1 |  |  |  |  | uint16
D569 |  | data | D | 569 | 1 |  |  |  |  | uint16
D570 |  | data | D | 570 | 1 |  |  |  |  | uint16
D571 |  | data | D | 571 | 1 |  |  |  |  | uint16
D572 |  | data | D | 572 | 1 |  |  |  |  | uint16
D573 |  | data | D | 573 | 1 |  |  |  |  | uint16
D574 |  | data | D | 574 | 1 |  |  |  |  | uint16
D575 |  | data | D | 575 | 1 |  |  |  |  | uint16
D576 |  | data | D | 576 | 1 |  |  |  |  | uint16
D577 |  | data | D | 577 | 1 |  |  |  |  | uint16
D578 |  | data | D | 578 | 1 |  |  |  |  | uint16
D579 |  | data | D | 579 | 1 |  |  |  |  | uint16
D580 |  | data | D | 580 | 1 |  |  |  |  | uint16
D581 |  | data | D | 581 | 1 |  |  |  |  | uint16
D582 |  | data | D | 582 | 1 |  |  |  |  | uint16
D583 |  | data | D | 583 | 1 |  |  |  |  | uint16
D584 |  | data | D | 584 | 1 |  |  |  |  | uint16
D585 |  | data | D | 585 | 1 |  |  |  |  | uint16
D586 |  | data | D | 586 | 1 |  |  |  |  | uint16
D587 |  | data | D | 587 | 1 |  |  |  |  | uint16
D588 |  | data | D | 588 | 1 |  |  |  |  | uint16
D589 |  | data | D | 589 | 1 |  |  |  |  | uint16
D590 |  | data | D | 590 | 1 |  |  |  |  | uint16
D591 |  | data | D | 591 | 1 |  |  |  |  | uint16
D592 |  | data | D | 592 | 1 |  |  |  |  | uint16
D593 |  | data | D | 593 | 1 |  |  |  |  | uint16
D594 |  | data | D | 594 | 1 |  |  |  |  | uint16
D595 |  | data | D | 595 | 1 |  |  |  |  | uint16
D596 |  | data | D | 596 | 1 |  |  |  |  | uint16
D597 |  | data | D | 597 | 1 |  |  |  |  | uint16
D598 |  | data | D | 598 | 1 |  |  |  |  | uint16
D599 |  | data | D | 599 | 1 |  |  |  |  | uint16
D600 |  | data | D | 600 | 1 |  |  |  |  | uint16
D601 |  | data | D | 601 | 1 |  |  |  |  | uint16
D602 |  | data | D | 602 | 1 |  |  |  |  | uint16
D603 |  | data | D | 603 | 1 |  |  |  |  | uint16
D604 |  | data | D | 604 | 1 |  |  |  |  | uint16
D605 |  | data | D | 605 | 1 |  |  |  |  | uint16
D606 |  | data | D | 606 | 1 |  |  |  |  | uint16
D607 |  | data | D | 607 | 1 |  |  |  |  | uint16
D608 |  | data | D | 608 | 1 |  |  |  |  | uint16
D609 |  | data | D | 609 | 1 |  |  |  |  | uint16
D610 |  | data | D | 610 | 1 |  |  |  |  | uint16
D611 |  | data | D | 611 | 1 |  |  |  |  | uint16
D612 |  | data | D | 612 | 1 |  |  |  |  | uint16
D613 |  | data | D | 613 | 1 |  |  |  |  | uint16
D614 |  | data | D | 614 | 1 |  |  |  |  | uint16
D615 |  | data | D | 615 | 1 |  |  |  |  | uint16
D616 |  | data | D | 616 | 1 |  |  |  |  | uint16
D617 |  | data | D | 617 | 1 |  |  |  |  | uint16
D618 |  | data | D | 618 | 1 |  |  |  |  | uint16
D619 |  | data | D | 619 | 1 |  |  |  |  | uint16
D620 |  | data | D | 620 | 1 |  |  |  |  | uint16
D621 |  | data | D | 621 | 1 |  |  |  |  | uint16
D622 |  | data | D | 622 | 1 |  |  |  |  | uint16
D623 |  | data | D | 623 | 1 |  |  |  |  | uint16
D624 |  | data | D | 624 | 1 |  |  |  |  | uint16
D625 |  | data | D | 625 | 1 |  |  |  |  | uint16
D626 |  | data | D | 626 | 1 |  |  |  |  | uint16
D627 |  | data | D | 627 | 1 |  |  |  |  | uint16
D628 |  | data | D | 628 | 1 |  |  |  |  | uint16
D629 |  | data | D | 629 | 1 |  |  |  |  | uint16
D630 |  | data | D | 630 | 1 |  |  |  |  | uint16
D631 |  | data | D | 631 | 1 |  |  |  |  | uint16
D632 |  | data | D | 632 | 1 |  |  |  |  | uint16
D633 |  | data | D | 633 | 1 |  |  |  |  | uint16
D634 |  | data | D | 634 | 1 |  |  |  |  | uint16
D635 |  | data | D | 635 | 1 |  |  |  |  | uint16
D636 |  | data | D | 636 | 1 |  |  |  |  | uint16
D637 |  | data | D | 637 | 1 |  |  |  |  | uint16
D638 |  | data | D | 638 | 1 |  |  |  |  | uint16
D639 |  | data | D | 639 | 1 |  |  |  |  | uint16
D640 |  | data | D | 640 | 1 |  |  |  |  | uint16
D641 |  | data | D | 641 | 1 |  |  |  |  | uint16
D642 |  | data | D | 642 | 1 |  |  |  |  | uint16
D643 |  | data | D | 643 | 1 |  |  |  |  | uint16
D644 |  | data | D | 644 | 1 |  |  |  |  | uint16
D645 |  | data | D | 645 | 1 |  |  |  |  | uint16
D646 |  | data | D | 646 | 1 |  |  |  |  | uint16
D647 |  | data | D | 647 | 1 |  |  |  |  | uint16
D648 |  | data | D | 648 | 1 |  |  |  |  | uint16
D649 |  | data | D | 649 | 1 |  |  |  |  | uint16
D650 |  | data | D | 650 | 1 |  |  |  |  | uint16
D651 |  | data | D | 651 | 1 |  |  |  |  | uint16
D652 |  | data | D | 652 | 1 |  |  |  |  | uint16
D653 |  | data | D | 653 | 1 |  |  |  |  | uint16
D654 |  | data | D | 654 | 1 |  |  |  |  | uint16
D655 |  | data | D | 655 | 1 |  |  |  |  | uint16
D656 |  | data | D | 656 | 1 |  |  |  |  | uint16
D657 |  | data | D | 657 | 1 |  |  |  |  | uint16
D658 |  | data | D | 658 | 1 |  |  |  |  | uint16
D659 |  | data | D | 659 | 1 |  |  |  |  | uint16
D660 |  | data | D | 660 | 1 |  |  |  |  | uint16
D661 |  | data | D | 661 | 1 |  |  |  |  | uint16
D662 |  | data | D | 662 | 1 |  |  |  |  | uint16
D663 |  | data | D | 663 | 1 |  |  |  |  | uint16
D664 |  | data | D | 664 | 1 |  |  |  |  | uint16
D665 |  | data | D | 665 | 1 |  |  |  |  | uint16
D666 |  | data | D | 666 | 1 |  |  |  |  | uint16
D667 |  | data | D | 667 | 1 |  |  |  |  | uint16
D668 |  | data | D | 668 | 1 |  |  |  |  | uint16
D669 |  | data | D | 669 | 1 |  |  |  |  | uint16
D670 |  | data | D | 670 | 1 |  |  |  |  | uint16
D671 |  | data | D | 671 | 1 |  |  |  |  | uint16
D672 |  | data | D | 672 | 1 |  |  |  |  | uint16
D673 |  | data | D | 673 | 1 |  |  |  |  | uint16
D674 |  | data | D | 674 | 1 |  |  |  |  | uint16
D675 |  | data | D | 675 | 1 |  |  |  |  | uint16
D676 |  | data | D | 676 | 1 |  |  |  |  | uint16
D677 |  | data | D | 677 | 1 |  |  |  |  | uint16
D678 |  | data | D | 678 | 1 |  |  |  |  | uint16
D679 |  | data | D | 679 | 1 |  |  |  |  | uint16
D680 |  | data | D | 680 | 1 |  |  |  |  | uint16
D681 |  | data | D | 681 | 1 |  |  |  |  | uint16
D682 |  | data | D | 682 | 1 |  |  |  |  | uint16
D683 |  | data | D | 683 | 1 |  |  |  |  | uint16
D684 |  | data | D | 684 | 1 |  |  |  |  | uint16
D685 |  | data | D | 685 | 1 |  |  |  |  | uint16
D686 |  | data | D | 686 | 1 |  |  |  |  | uint16
D687 |  | data | D | 687 | 1 |  |  |  |  | uint16
D688 |  | data | D | 688 | 1 |  |  |  |  | uint16
D689 |  | data | D | 689 | 1 |  |  |  |  | uint16
D690 |  | data | D | 690 | 1 |  |  |  |  | uint16
D691 |  | data | D | 691 | 1 |  |  |  |  | uint16
D692 |  | data | D | 692 | 1 |  |  |  |  | uint16
D693 |  | data | D | 693 | 1 |  |  |  |  | uint16
D694 |  | data | D | 694 | 1 |  |  |  |  | uint16
D695 |  | data | D | 695 | 1 |  |  |  |  | uint16
D696 |  | data | D | 696 | 1 |  |  |  |  | uint16
D697 |  | data | D | 697 | 1 |  |  |  |  | uint16
D698 |  | data | D | 698 | 1 |  |  |  |  | uint16
D699 |  | data | D | 699 | 1 |  |  |  |  | uint16
D700 |  | data | D | 700 | 1 |  |  |  |  | uint16
D701 |  | data | D | 701 | 1 |  |  |  |  | uint16
D702 |  | data | D | 702 | 1 |  |  |  |  | uint16
D703 |  | data | D | 703 | 1 |  |  |  |  | uint16
D704 |  | data | D | 704 | 1 |  |  |  |  | uint16
D705 |  | data | D | 705 | 1 |  |  |  |  | uint16
D706 |  | data | D | 706 | 1 |  |  |  |  | uint16
D707 |  | data | D | 707 | 1 |  |  |  |  | uint16
D708 |  | data | D | 708 | 1 |  |  |  |  | uint16
D709 |  | data | D | 709 | 1 |  |  |  |  | uint16
D710 |  | data | D | 710 | 1 |  |  |  |  | uint16
D711 |  | data | D | 711 | 1 |  |  |  |  | uint16
D712 |  | data | D | 712 | 1 |  |  |  |  | uint16
D713 |  | data | D | 713 | 1 |  |  |  |  | uint16
D714 |  | data | D | 714 | 1 |  |  |  |  | uint16
D715 |  | data | D | 715 | 1 |  |  |  |  | uint16
D716 |  | data | D | 716 | 1 |  |  |  |  | uint16
D717 |  | data | D | 717 | 1 |  |  |  |  | uint16
D718 |  | data | D | 718 | 1 |  |  |  |  | uint16
D719 |  | data | D | 719 | 1 |  |  |  |  | uint16
D720 |  | data | D | 720 | 1 |  |  |  |  | uint16
D721 |  | data | D | 721 | 1 |  |  |  |  | uint16
D722 |  | data | D | 722 | 1 |  |  |  |  | uint16
D723 |  | data | D | 723 | 1 |  |  |  |  | uint16
D724 |  | data | D | 724 | 1 |  |  |  |  | uint16
D725 |  | data | D | 725 | 1 |  |  |  |  | uint16
D726 |  | data | D | 726 | 1 |  |  |  |  | uint16
D727 |  | data | D | 727 | 1 |  |  |  |  | uint16
D728 |  | data | D | 728 | 1 |  |  |  |  | uint16
D729 |  | data | D | 729 | 1 |  |  |  |  | uint16
D730 |  | data | D | 730 | 1 |  |  |  |  | uint16
D731 |  | data | D | 731 | 1 |  |  |  |  | uint16
D732 |  | data | D | 732 | 1 |  |  |  |  | uint16
D733 |  | data | D | 733 | 1 |  |  |  |  | uint16
D734 |  | data | D | 734 | 1 |  |  |  |  | uint16
D735 |  | data | D | 735 | 1 |  |  |  |  | uint16
D736 |  | data | D | 736 | 1 |  |  |  |  | uint16
D737 |  | data | D | 737 | 1 |  |  |  |  | uint16
D738 |  | data | D | 738 | 1 |  |  |  |  | uint16
D739 |  | data | D | 739 | 1 |  |  |  |  | uint16
D740 |  | data | D | 740 | 1 |  |  |  |  | uint16
D741 |  | data | D | 741 | 1 |  |  |  |  | uint16
D742 |  | data | D | 742 | 1 |  |  |  |  | uint16
D743 |  | data | D | 743 | 1 |  |  |  |  | uint16
D744 |  | data | D | 744 | 1 |  |  |  |  | uint16
D745 |  | data | D | 745 | 1 |  |  |  |  | uint16
D746 |  | data | D | 746 | 1 |  |  |  |  | uint16
D747 |  | data | D | 747 | 1 |  |  |  |  | uint16
D748 |  | data | D | 748 | 1 |  |  |  |  | uint16
D749 |  | data | D | 749 | 1 |  |  |  |  | uint16
temperature_C | 溫度 | data, alarm | D | 11 | 1 |  |  |  |  | int16 | 0.0125
humidity_percent | 濕度 | data, alarm | D | 12 | 1 |  |  |  |  | int16 | 0.025

## meta
Type | melsec-templates
Version | 0.3
templateId | q02u-ht-ascii